## Slide 1: Stitching and Aligning Large Scale EM Volume
December 11, 2018
Gayathri Mahalingam

## Slide 2: Overview
Scaling the Stitching and Alignment Pipeline
Workflow engine for Continuous processing
Risks and Mitigations

## Slide 3: Scaling up of Mouse EM Connectomics Data Sets
1 mm3
~25,000 sections
~250,000,000 images
100 000 neurons
1 000 000 000 synapses
Phase 2
Phase 1
(100 µm)3
~2,500 sections
~250,000 images
100 neurons
1 000 000 synapses

## Slide 4: Stitching Pipeline
Flat field corrected tile
Lens distortion correction
Stitching/montaging
Rough Alignment
Fine Alignment
Materialization

## Slide 5: Stitching Strategy – Small Volume

## Slide 6: Stitching Strategy – Large Volume

## Slide 7: Bottlenecks
Materialize intermediate results to use as input to next step
  Consumes disk space
  Not efficient (minor error causes re-materialization)
Cannot be scaled to large volumes
Real time stitching is not feasible
  Need to keep up with imaging

## Slide 8: RENDER Components

## Slide 9: Render Data Model

## Slide 10: Render - Advantages
No rendering of intermediate results
Render is modular
Scalable to solve large volumes
Real time stitching is feasible with proper infrastructure
Render utilizes mipmaps for processing
  Faster processing
  Saves disk space

## Slide 11: Stitching and Alignment Using Mipmaps
Render includes logic to utilize the mipmap images at various stages in processing
Moving the raw data to long term storage for later retrieval
Compute point matches
Materialize section montages at a lower scale for QC and rough alignment

## Slide 12: Schematic of Current Infrastructure Supporting Stitching1
Stitching steps:
Montaging
Rough alignment
Fine alignment
Volume assembly
Image meta-data
Solver
(matrix-based registration)
E
Point-match generator
(SIFT/SURF)
C
Stitching-based tasks:
Mipmap generation
Intensity correction
Stitching QC
Data staging for analysis and visualization
Rendering volume to disk
G
Tile-spec
Mongo DB
Render
Service
B
Mongo DB
Point Match
Service
D
Point Match QC and visualization
F
From acquisition system
Image meta-data
Image files
Image
Catcher
A
Primary storage
(Isilon)
Image files
1. In collaboration with Janelia Research Campus

## Slide 13: Stitching and Alignment Workflow
Render
  A collection of tools and services to render transformed image tiles
Render-python
  Python API client and transformation library for Render
Render-modules
  Workflow modules for ssEM with Render
Argschema
  Flexible module inputs using JSON
EM_Aligner_python
  Python/C distributed registration solver
Render
Render-python
Render-modules
Argschema
EM_Aligner_python

## Slide 14: Render-Modules
Python API
Scalable
  Works well in distributed systems
Modular
Schemas for data validation
Tools for evaluation and visualization

## Slide 15: Render-Modules
Docker based solution for rapid deployment and portability
Formalized continuous integration and deployment using Bamboo, Artifactory, and Ansible services
  MATLAB, Java, Python, Apache Spark, etc.
Integration tests for each module for seamless development and code coverage

## Slide 16: Phase 2 – Quality Control

## Slide 17: Stitching Issues
Stitching errors are mainly caused due to
  Presence of holes (missing tiles in montages)
  Stitching gaps (no overlap between tile images)
  Seams (mainly caused due to poor-point correspondences)
Automated tools to detect these issues have been developed and integrated with the Python API

## Slide 18: Stitching Issues - Holes
Missing tiles in montages
  Tiles get dropped due to insufficient point matches
  Tiles that are part of blood vessels
Solved by generating point matches at a higher scale

## Slide 19: Stitching Issues - Gaps
Gaps in stitching are introduced due to insufficient overlap between tiles
- resolved by introducing QC at the imaging stage

## Slide 20: Stitching Issues - Seams
Seams occur due to misalignment between tiles within section
Seams are caused due to
  Poor point matches between tile images
  Inaccurate lens correction transformation
In 3D alignment, seams are mainly caused due to cracks

## Slide 21: Stitching Issues - Misalignment

## Slide 22: Phase 2 - Misalignment

## Slide 23: Render-Modules
Point-Match QC and Optimization
  Point matching is computationally expensive
  Optimized set of parameters that yields good set of point matches for a pair of tiles

## Slide 24: Scaling the solver

## Slide 25
Pointmatches
Features from 2 different images

## Slide 26
Alignment
Segmentation requires alignment of 1-5 pixels (3-15nm)
Tissue deformation, microscope positioning uncertainties are larger
Image deformation required to align

## Slide 27
Affine Transformation

## Slide 28
Matrix Form

## Slide 29
Aligned

## Slide 30
Scaling: matrix size grows quickly

## Slide 31: EM Aligner Distributed
 | EM_aligner | EM_aligner_distributed
Target dataset | Full adult fly brain | 1mm2 mouse visual cortex
Dataset size | 100 TB | 3500 TB
Language | MATLAB | Python+C
Single-node assembly limit | 1000 1mm2 sections | 
Multi-node assembly limit | N/A | No limit
Single-node solve limit | 200 1mm2 sections | 
Multi-node solve limit | N/A | No limit
Code base | 10-100 files | 5 files
Implementation is based on EM_aligner – developed at HHMI
A Python and C based implementation
  For easy integration with stitching pipeline modules
  For easy access to distributed solvers

## Slide 32
Image Processing Workflow
Integrated Imaging and Image Processing Workflow for Petascale Serial-Section Microscopy

## Slide 33
Image Processing Workflow
Continuous processing workflow
5 ATUM reels → 5 starting points
  Essentially 5 sub volume datasets with final registration step
  Dialogue with Princeton suggests :
    Angular misalignments are problematic
    Better to have as much rough aligned data as possible
    Rolling delivery of aligned sub volume images preferred
      Cloud-based delivery (e.g. Snowball)
      “Fusion” by transformation interpolation reduces jitter between deliveries

## Slide 34
Data Flow Diagram
Specialized services connect high-throughput microscopes to shared institute resources in order to govern disk usage

## Slide 35
Image Processing Workflow
Blue Sky Workflow Engine
Allows continuous processing for complex workflows -- currently being developed internally by Tim Fliss
Django backed by PostgreSQL database – stable backups, graceful restarts, and easy migrations
Uses Celery and RabbitMQ to run diverse workflow tasks, e.g.:
  Cluster submissions (PBS)
  Remote/local Execution
  Ingest Workers
Readable, flexibly defined (YAML/JSON/Django) workflow diagrams allowing rapid development

## Slide 36
Montage Workflow Diagram
IARPA MICrONS Phase 2 Montage workflow with support for Lens Correction and Manual intervention

## Slide 37
Montage Workflow DAG
Same EM workflow represented in YAML as DAG
graph:
- [ "ingest_tile_sets", [ "generate_lens_correction", "generate_em_montage" ] ]
- [ "generate_lens_correction", [ "move_reference_set" ] ]
- [ "generate_em_montage", [ "generate_mipmaps" ] ]
- [ "generate_mipmaps", [ "apply_mipmaps" ] ]
- [ "apply_mipmaps", [ "wait_for_lens_correction" ] ]
- [ "move_reference_set", [ "wait_for_lens_correction" ] ]
- [ "wait_for_lens_correction", [ "apply_lens_correction_new" ] ]
- [ "apply_lens_correction_new", [ "create_tile_pairs" ] ]
- [ "create_tile_pairs", [ "2d_montage_point_match" ] ]
- [ "2d_montage_point_match", [ "solver" ] ]
- [ "solver", [ "detect_defects" ] ]
- [ "detect_defects", [ "wait_for_manual_qc" ] ]
- [ "wait_for_manual_qc", [ "downsample", "move_raw_montage_set" ] ]
- [ "downsample", [ "alignment" ] ]

## Slide 38: Phase 2 Processing
Montaging
In par with Imaging
  ~ 15K sections ingested and processed
Perfect montaging without misalignments
Mean residual pixel error rate < 5px

## Slide 39: Phase 2 Processing
Rough Alignment Requirements
No stitching/alignment errors
Mean 3D residuals preferably < 1000px

## Slide 40: Risks and mitigation

## Slide 41: Cracks and Folds
Cracks
Folds
Notes: fold
20180624142333436_17797_1R_Tape162_TEMCA3_01_reimaging_000017_0_64_39.png
crack
20170503141606362_295434_5LC_0064_01_001043_0_5_25.png

## Slide 42: Segmentation
Deep Neural Network Segmentation
Pre-processing
  Binary annotations
  Image resizing
Training
  U-Net convolutional neural network
  Input: EM tile
  Output: Predicted binary mask
Post-processing
  Denoising
  Contour identification
Training Inputs: Original EM Image (left) and Binary Mask (right)
Notes: Mention sample sizes in person
M
Optimization function: stochastic gradient descent
Loss function: binary cross entropy

## Slide 43: Initial Results (Cracks)
Original EM Image
Predicted Crack Mask
Labelled Crack Mask

## Slide 44: Initial Results (Folds)
Original EM Image
Predicted Fold Mask
Labelled Fold Mask

## Slide 45: Initial Results – Errors
 | Dice Similarity Coefficient | Fractional Difference
Median | 0.89 | 0.0064
Mean | 0.82 | 0.0073
Standard Deviation | 0.20 | 0.0043
Errors
False positive pixels
  Blood vessels
  Resin edges
  Noise
Edge blurring
Contour Holes
Initial Crack Detection Statistics
Notes: Princeton annotations and dataset differences
(Reference dataset for statistitcs)

## Slide 46: Initial Results – Errors
Errors
False positive segmentation of blood vessels and resin-tissue intersections
Solutions
Add examples of blood vessels and resin-tissue intersections to training data
Large noise objects
Edge blurring and general noise
Contour Holes
Contour thresholding
Replace random crop transformation with resize
Non-local means denoising
Contour flood filling
Notes: Piece by piece error & solution matching

## Slide 47: Improved Results (Cracks)
Original Prediction
New Prediction

## Slide 48: Improved Results (Folds)
Original Prediction
New Prediction

## Slide 49
EM Team | AT Team | Our collaborators at HHMI
Agnes Bodor | Sharmishtaa Seshamani | Stefan Saalfeld
Casey Schneider-Mizell | Forrest Collman | Khaled Khairy
Clay Reid |  | Eric Trautman
Daniel Bumbarger |  | 
Daniel Kapner |  | 
Derrick Brittain |  | 
Joann Buchanan | Our Collaborators from Princeton | 
Marc Takeno |  | 
Nuno Da Costa | IARPA | 
Rob Young (PM) |  | 
Shelby Suckow (PM) |  | 
Tim Fliss (Technology) |  | 
Wenjing Yin |  | 

## Slide 50: Phase 2 Improvements
Automated modules to identify stitching issues
Improvements for efficiently processing data
  Perform stitching and alignment using mipmaps
  Moving raw data to long term storage for lateral retrieval
  Workflow manager for automated stitching and alignment
  Pythonized modules to interact with Render and consumed by workflow manager
  Scaling the solver to solve large systems across a distributed environment
Generation of statistical metrics to assess the quality of stitched and aligned volume